Park Quadrant door handle tightening instructions

- Unscrew grub screw in each handle with an allen key

- Unscrew the rings covering the base of each handle by turning

- Unscrew the two screws attaching bolts through door with flat headed screwdriver

- Unscrew the small screw at the top, holding on the handle at side to be tightened

- Remove the handle to be tightened

- Tighten the handle using an allen key placed down the centre

- Replace parts in reverse order from steps 6 to 1 above.